## Cover
TUNNEL STRUCTURAL HEALTH MONITORING
LiDAR Point Cloud Analysis Report
Project: | C:/Users/ssl/Desktop/Code Python/data python cusor/tunnel_project/data/full_test/Tn_full.txt
Engineer: | CBNU Smart Structure Lab
Date: | 2026-06-10 16:36
Software: | Tunnel Analysis v4.0 - CBNU
Scan file: | C:/Users/ssl/Desktop/Code Python/data python cusor/tunnel_project/data/full_test/Tn_full.txt
Points: | 150,740
Sections: | 80
Profile: | Circle

## Section Data
chainage_m | crown_settlement_mm | lateral_convergence_mm | ovality_pct | eccentricity_mm | radius_fit_m | wall_angle_L_deg | wall_angle_R_deg | clearance_violation | min_clearance_dist_m
0 | 5997.006 | 5998.373 | 0.061 | 298.69 | 3.0043 | 86.71 | 86.71 | 1 | -0.8391
12.566 | 5997.128 | 5996.977 | 0.055 | 151.358 | 3.002 | 89.88 | 88.97 | 1 | -0.6173
25.134 | 5997.006 | 5995.581 | 0.05 | 4.026 | 2.9999 | 88.86 | 89.13 | 1 | -0.4227
37.703 | 5996.174 | 5993.263 | 0.039 | 4.026 | 2.9997 | 89.98 | 88.83 | 1 | -0.223
50.274 | 5993.142 | 5992.05 | 0.05 | 3.485 | 2.9997 | 89.39 | 88.5 | 1 | -0.0402
62.845 | 5993.142 | 5991.229 | 0.05 | 3.485 | 2.9995 | 89.84 | 88.92 | 0 | 0.1306
75.418 | 5989.889 | 5982.127 | 0.131 | 4.027 | 2.9967 | 89.73 | 89.25 | 0 | 0.2896
87.991 | 5986.934 | 5966.179 | 0.166 | 4.352 | 2.9916 | 88.87 | 89.12 | 0 | 0.4104
100.566 | 5986.934 | 5966.179 | 0.166 | 4.352 | 2.9916 | 89.16 | 89.74 | 0 | 0.5387
113.141 | 5986.934 | 5966.179 | 0.166 | 4.682 | 2.9916 | 89.73 | 89.84 | 0 | 0.6944
125.716 | 5993.925 | 5984.014 | 0.075 | 4.682 | 2.9995 | 88.98 | 89.99 | 0 | 0.8224
138.292 | 5993.925 | 5994.625 | 0.075 | 4.682 | 2.9998 | 89.06 | 89.2 | 0 | 0.9306
150.869 | 5993.925 | 5994.625 | 0.035 | 6.542 | 3.0001 | 89.94 | 88.2 | 0 | 1.0224
163.445 | 5989.337 | 5989.868 | 0.035 | 8.204 | 3.0001 | 86.58 | 88.36 | 0 | 1.1098
176.022 | 5989.337 | 5989.868 | 0.049 | 8.204 | 3.0001 | 89.9 | 89.98 | 0 | 1.1857
188.599 | 5988.843 | 5989.868 | 0.059 | 8.204 | 3.0001 | 88.18 | 89.63 | 0 | 1.255
201.176 | 5989.337 | 5988.24 | 0.05 | 6.542 | 2.9999 | 88.48 | 89.72 | 0 | 1.3164
213.753 | 5989.337 | 5988.24 | 0.05 | 5.608 | 2.9999 | 88.27 | 89.73 | 0 | 1.3685
226.33 | 5988.843 | 5988.705 | 0.059 | 4.144 | 2.9999 | 89.8 | 87.79 | 0 | 1.3758
238.906 | 5988.843 | 5988.24 | 0.059 | 5.608 | 2.9999 | 89.8 | 89.54 | 0 | 1.3388
251.483 | 5988.711 | 5988.705 | 0.059 | 5.608 | 2.9999 | 88.27 | 88.31 | 0 | 1.3049
264.058 | 5988.711 | 5989.687 | 0.059 | 5.608 | 2.9999 | 89.87 | 89.82 | 0 | 1.2789
276.634 | 5993.512 | 5990.883 | 0.072 | 6.796 | 2.9996 | 89.7 | 69.85 | 0 | 0.2609
289.209 | 5993.512 | 5990.883 | 0.059 | 6.796 | 2.9997 | 89.24 | 89.93 | 0 | 1.2399
301.784 | 5993.512 | 5992.52 | 0.059 | 2.7 | 2.9997 | 89.09 | 89.65 | 0 | 1.2273
314.359 | 5993.512 | 5992.52 | 0.048 | 2.7 | 2.9998 | 89.97 | 89.86 | 0 | 1.2228
326.933 | 5993.512 | 5996.37 | 0.048 | 2.674 | 2.9998 | 89.83 | 89.7 | 0 | 1.2171
339.506 | 5994.124 | 5997.703 | 0.045 | 2.674 | 2.9998 | 88.66 | 89.98 | 0 | 1.2155
352.079 | 5997.754 | 5997.703 | 0.031 | 4.349 | 3 | 89.31 | 89.98 | 0 | 1.2187
364.651 | 5997.754 | 5996.37 | 0.028 | 4.349 | 3.0001 | 89.23 | 88.82 | 0 | 1.222
377.223 | 5998.65 | 5995.997 | 0.028 | 4.349 | 3.0001 | 89.96 | 89.87 | 0 | 1.2257
389.795 | 5998.78 | 5991.382 | 0.028 | 4.349 | 3.0003 | 89.88 | 89.08 | 0 | 1.2349
402.366 | 5998.78 | 5991.382 | 0.026 | 2.369 | 3.0003 | 88.64 | 89 | 0 | 1.2441
414.937 | 5998.78 | 5991.382 | 0.026 | 2.312 | 3.0001 | 89.19 | 89.06 | 0 | 1.2541
427.507 | 5998.78 | 5991.64 | 0.033 | 2.312 | 3.0002 | 88.8 | 89.9 | 0 | 1.2633
440.077 | 5998.131 | 5992.02 | 0.033 | 2.312 | 3 | 88.77 | 89.94 | 0 | 1.2725
452.647 | 5998.131 | 5992.027 | 0.058 | 3.647 | 3 | 89.01 | 88.3 | 0 | 1.282
465.216 | 5993.434 | 5992.02 | 0.058 | 3.936 | 3 | 88.13 | 88.17 | 0 | 1.2893
477.785 | 5995.834 | 5992.02 | 0.034 | 3.936 | 3 | 89.95 | 89.94 | 0 | 1.2953
490.355 | 5997.524 | 5992.954 | 0.034 | 3.936 | 2.9999 | 88.4 | 87.7 | 0 | 1.2964
502.924 | 5995.834 | 5982.955 | 0.034 | 3.936 | 2.9997 | 87.51 | 89.68 | 0 | 1.297
515.493 | 5991.43 | 5982.565 | 0.034 | 3.936 | 2.999 | 89.98 | 88.05 | 0 | 1.293
528.062 | 5985.895 | 5966.181 | 0.281 | 4.715 | 2.9948 | 87.94 | 87.75 | 0 | 1.2841
540.631 | 5985.895 | 5966.181 | 0.281 | 4.715 | 2.9948 | 89.55 | 88.59 | 0 | 1.2437
553.201 | 5985.895 | 5966.181 | 0.281 | 4.745 | 2.9948 | 89.95 | 89.89 | 0 | 1.2352
565.771 | 5994.992 | 5972.406 | 0.24 | 4.715 | 2.9951 | 89.99 | 89.11 | 0 | 1.2579
578.341 | 5998.31 | 5989.702 | 0.057 | 2.873 | 2.9999 | 89.89 | 89.18 | 0 | 1.2574
590.912 | 5998.31 | 5994.729 | 0.051 | 2.404 | 2.9999 | 89.64 | 89.92 | 0 | 1.2468
603.483 | 5994.992 | 5994.729 | 0.051 | 2.873 | 2.9999 | 89.86 | 89.92 | 0 | 1.2396
616.055 | 5994.992 | 5994.431 | 0.042 | 2.873 | 3 | 89.83 | 89.88 | 0 | 1.2321
628.627 | 5996.972 | 5994.431 | 0.051 | 2.404 | 3.0001 | 89.58 | 87.73 | 0 | 1.2256
641.199 | 5996.308 | 5994.431 | 0.051 | 2.454 | 3.0001 | 88.85 | 89.68 | 0 | 1.2234
653.772 | 5996.308 | 5992.036 | 0.052 | 2.454 | 3.0001 | 89.69 | 89.78 | 0 | 1.2182
666.345 | 5996.308 | 5992.036 | 0.056 | 2.454 | 3.0001 | 89.74 | 88.97 | 0 | 1.2184
678.919 | 5996.171 | 5992.036 | 0.056 | 2.368 | 2.9999 | 89.95 | 89.17 | 0 | 1.2211
691.494 | 5996.171 | 5993.648 | 0.042 | 2.368 | 2.9999 | 90 | 89.21 | 0 | 1.2293
704.069 | 5996.171 | 5993.648 | 0.056 | 2.368 | 2.9999 | 90 | 89.07 | 0 | 1.2424
716.644 | 5996.171 | 5993.648 | 0.062 | 3.074 | 2.9998 | 88.96 | 89.9 | 0 | 1.2554
729.22 | 5996.171 | 5993.648 | 0.058 | 3.074 | 2.9998 | 88.39 | 89.93 | 0 | 1.2758
741.796 | 5994.23 | 5993.648 | 0.058 | 3.374 | 2.9999 | 89.97 | 89.86 | 0 | 1.3063
754.372 | 5992.083 | 5987.395 | 0.062 | 3.374 | 2.9999 | 87.53 | 89.72 | 0 | 1.3366
766.949 | 5980.179 | 5985.56 | 0.062 | 5.056 | 2.9992 | 89.78 | 88.04 | 0 | 1.3733
779.525 | 5980.179 | 5985.56 | 0.149 | 5.056 | 2.9952 | 87.73 | 89.67 | 0 | 1.3679
792.102 | 5980.179 | 5984.544 | 0.149 | 6.678 | 2.9952 | 89.57 | 89.73 | 0 | 1.3074
804.679 | 5980.179 | 5984.544 | 0.149 | 7.501 | 2.9952 | 89.92 | 89.82 | 0 | 1.247
817.256 | 5984.24 | 5984.544 | 0.08 | 12.384 | 2.9978 | 89.57 | 89.62 | 0 | 1.1897
829.833 | 5990.65 | 5990.12 | 0.079 | 12.384 | 2.9999 | 88.88 | 88.34 | 0 | 1.1117
842.41 | 5992.357 | 5991.641 | 0.062 | 6.678 | 2.9999 | 89.85 | 87.57 | 0 | 1.0237
854.986 | 5991.699 | 5991.641 | 0.059 | 5.375 | 2.9999 | 89.65 | 89.74 | 0 | 0.9298
867.562 | 5992.357 | 5993.039 | 0.047 | 4.901 | 2.9999 | 90 | 89.79 | 0 | 0.8257
880.138 | 5993.175 | 5993.039 | 0.04 | 3.056 | 2.9997 | 89.53 | 89.74 | 0 | 0.7047
892.713 | 5993.175 | 5993.786 | 0.04 | 4.228 | 2.9997 | 89.04 | 89.67 | 0 | 0.5784
905.287 | 5993.862 | 5993.786 | 0.04 | 4.228 | 2.9997 | 88.82 | 89.53 | 0 | 0.4386
917.861 | 5993.862 | 5993.786 | 0.025 | 2.941 | 3 | 89.81 | 87.83 | 0 | 0.292
930.433 | 5993.73 | 5993.786 | 0.021 | 2.941 | 2.9998 | 88.99 | 89.55 | 0 | 0.1272
943.005 | 5992.541 | 5993.167 | 0.025 | 2.996 | 2.9998 | 88.77 | 88.75 | 1 | -0.0474
955.575 | 5993.398 | 5993.167 | 0.025 | 2.996 | 2.9998 | 89.04 | 89.12 | 1 | -0.2305
968.144 | 5993.398 | 5993.167 | 0.032 | 3.268 | 3 | 89.76 | 89.67 | 1 | -0.4347
980.711 | 5991.408 | 5993.698 | 0.045 | 163.929 | 3.0033 | 89.03 | 89.9 | 1 | -0.6292
993.277 | 5993.398 | 5995.959 | 0.058 | 324.591 | 3.0068 | 85.33 | 85.91 | 1 | -0.8558

## Summary
Parameter Summary
Parameter | Min | Max | Mean | Status
chainage_m | 0 | 993.277 | 496.6391 | N/A
crown_settlement_mm | 5980.179 | 5998.78 | 5992.8119 | CRITICAL
lateral_convergence_mm | 5966.179 | 5998.373 | 5989.4975 | CRITICAL
ovality_pct | 0.021 | 0.281 | 0.068613 | N/A
eccentricity_mm | 2.312 | 324.591 | 15.8919 | N/A
radius_fit_m | 2.9916 | 3.0068 | 2.9993 | N/A
clearance_violation | 0 | 1 | 0.125 | N/A

## Charts
Chainage (m) | Settlement (mm) | Convergence (mm) | Ovality (%)
0 | 5997.006 | 5998.373 | 0.061
12.566 | 5997.128 | 5996.977 | 0.055
25.134 | 5997.006 | 5995.581 | 0.05
37.703 | 5996.174 | 5993.263 | 0.039
50.274 | 5993.142 | 5992.05 | 0.05
62.845 | 5993.142 | 5991.229 | 0.05
75.418 | 5989.889 | 5982.127 | 0.131
87.991 | 5986.934 | 5966.179 | 0.166
100.566 | 5986.934 | 5966.179 | 0.166
113.141 | 5986.934 | 5966.179 | 0.166
125.716 | 5993.925 | 5984.014 | 0.075
138.292 | 5993.925 | 5994.625 | 0.075
150.869 | 5993.925 | 5994.625 | 0.035
163.445 | 5989.337 | 5989.868 | 0.035
176.022 | 5989.337 | 5989.868 | 0.049
188.599 | 5988.843 | 5989.868 | 0.059
201.176 | 5989.337 | 5988.24 | 0.05
213.753 | 5989.337 | 5988.24 | 0.05
226.33 | 5988.843 | 5988.705 | 0.059
238.906 | 5988.843 | 5988.24 | 0.059
251.483 | 5988.711 | 5988.705 | 0.059
264.058 | 5988.711 | 5989.687 | 0.059
276.634 | 5993.512 | 5990.883 | 0.072
289.209 | 5993.512 | 5990.883 | 0.059
301.784 | 5993.512 | 5992.52 | 0.059
314.359 | 5993.512 | 5992.52 | 0.048
326.933 | 5993.512 | 5996.37 | 0.048
339.506 | 5994.124 | 5997.703 | 0.045
352.079 | 5997.754 | 5997.703 | 0.031
364.651 | 5997.754 | 5996.37 | 0.028
377.223 | 5998.65 | 5995.997 | 0.028
389.795 | 5998.78 | 5991.382 | 0.028
402.366 | 5998.78 | 5991.382 | 0.026
414.937 | 5998.78 | 5991.382 | 0.026
427.507 | 5998.78 | 5991.64 | 0.033
440.077 | 5998.131 | 5992.02 | 0.033
452.647 | 5998.131 | 5992.027 | 0.058
465.216 | 5993.434 | 5992.02 | 0.058
477.785 | 5995.834 | 5992.02 | 0.034
490.355 | 5997.524 | 5992.954 | 0.034
502.924 | 5995.834 | 5982.955 | 0.034
515.493 | 5991.43 | 5982.565 | 0.034
528.062 | 5985.895 | 5966.181 | 0.281
540.631 | 5985.895 | 5966.181 | 0.281
553.201 | 5985.895 | 5966.181 | 0.281
565.771 | 5994.992 | 5972.406 | 0.24
578.341 | 5998.31 | 5989.702 | 0.057
590.912 | 5998.31 | 5994.729 | 0.051
603.483 | 5994.992 | 5994.729 | 0.051
616.055 | 5994.992 | 5994.431 | 0.042
628.627 | 5996.972 | 5994.431 | 0.051
641.199 | 5996.308 | 5994.431 | 0.051
653.772 | 5996.308 | 5992.036 | 0.052
666.345 | 5996.308 | 5992.036 | 0.056
678.919 | 5996.171 | 5992.036 | 0.056
691.494 | 5996.171 | 5993.648 | 0.042
704.069 | 5996.171 | 5993.648 | 0.056
716.644 | 5996.171 | 5993.648 | 0.062
729.22 | 5996.171 | 5993.648 | 0.058
741.796 | 5994.23 | 5993.648 | 0.058
754.372 | 5992.083 | 5987.395 | 0.062
766.949 | 5980.179 | 5985.56 | 0.062
779.525 | 5980.179 | 5985.56 | 0.149
792.102 | 5980.179 | 5984.544 | 0.149
804.679 | 5980.179 | 5984.544 | 0.149
817.256 | 5984.24 | 5984.544 | 0.08
829.833 | 5990.65 | 5990.12 | 0.079
842.41 | 5992.357 | 5991.641 | 0.062
854.986 | 5991.699 | 5991.641 | 0.059
867.562 | 5992.357 | 5993.039 | 0.047
880.138 | 5993.175 | 5993.039 | 0.04
892.713 | 5993.175 | 5993.786 | 0.04
905.287 | 5993.862 | 5993.786 | 0.04
917.861 | 5993.862 | 5993.786 | 0.025
930.433 | 5993.73 | 5993.786 | 0.021
943.005 | 5992.541 | 5993.167 | 0.025
955.575 | 5993.398 | 5993.167 | 0.025
968.144 | 5993.398 | 5993.167 | 0.032
980.711 | 5991.408 | 5993.698 | 0.045
993.277 | 5993.398 | 5995.959 | 0.058

## Warnings
Structural Warning Report
Chainage (m) | Parameter | Value | Threshold | Status | Action
0 | crown_settlement_mm | 5997.006 | 25 | CRITICAL | Immediate inspection required
0 | lateral_convergence_mm | 5998.373 | 30 | CRITICAL | Immediate inspection required
12.566 | crown_settlement_mm | 5997.128 | 25 | CRITICAL | Immediate inspection required
12.566 | lateral_convergence_mm | 5996.977 | 30 | CRITICAL | Immediate inspection required
25.134 | crown_settlement_mm | 5997.006 | 25 | CRITICAL | Immediate inspection required
25.134 | lateral_convergence_mm | 5995.581 | 30 | CRITICAL | Immediate inspection required
37.703 | crown_settlement_mm | 5996.174 | 25 | CRITICAL | Immediate inspection required
37.703 | lateral_convergence_mm | 5993.263 | 30 | CRITICAL | Immediate inspection required
50.274 | crown_settlement_mm | 5993.142 | 25 | CRITICAL | Immediate inspection required
50.274 | lateral_convergence_mm | 5992.05 | 30 | CRITICAL | Immediate inspection required
62.845 | crown_settlement_mm | 5993.142 | 25 | CRITICAL | Immediate inspection required
62.845 | lateral_convergence_mm | 5991.229 | 30 | CRITICAL | Immediate inspection required
75.418 | crown_settlement_mm | 5989.889 | 25 | CRITICAL | Immediate inspection required
75.418 | lateral_convergence_mm | 5982.127 | 30 | CRITICAL | Immediate inspection required
87.991 | crown_settlement_mm | 5986.934 | 25 | CRITICAL | Immediate inspection required
87.991 | lateral_convergence_mm | 5966.179 | 30 | CRITICAL | Immediate inspection required
100.566 | crown_settlement_mm | 5986.934 | 25 | CRITICAL | Immediate inspection required
100.566 | lateral_convergence_mm | 5966.179 | 30 | CRITICAL | Immediate inspection required
113.141 | crown_settlement_mm | 5986.934 | 25 | CRITICAL | Immediate inspection required
113.141 | lateral_convergence_mm | 5966.179 | 30 | CRITICAL | Immediate inspection required
125.716 | crown_settlement_mm | 5993.925 | 25 | CRITICAL | Immediate inspection required
125.716 | lateral_convergence_mm | 5984.014 | 30 | CRITICAL | Immediate inspection required
138.292 | crown_settlement_mm | 5993.925 | 25 | CRITICAL | Immediate inspection required
138.292 | lateral_convergence_mm | 5994.625 | 30 | CRITICAL | Immediate inspection required
150.869 | crown_settlement_mm | 5993.925 | 25 | CRITICAL | Immediate inspection required
150.869 | lateral_convergence_mm | 5994.625 | 30 | CRITICAL | Immediate inspection required
163.445 | crown_settlement_mm | 5989.337 | 25 | CRITICAL | Immediate inspection required
163.445 | lateral_convergence_mm | 5989.868 | 30 | CRITICAL | Immediate inspection required
176.022 | crown_settlement_mm | 5989.337 | 25 | CRITICAL | Immediate inspection required
176.022 | lateral_convergence_mm | 5989.868 | 30 | CRITICAL | Immediate inspection required
188.599 | crown_settlement_mm | 5988.843 | 25 | CRITICAL | Immediate inspection required
188.599 | lateral_convergence_mm | 5989.868 | 30 | CRITICAL | Immediate inspection required
201.176 | crown_settlement_mm | 5989.337 | 25 | CRITICAL | Immediate inspection required
201.176 | lateral_convergence_mm | 5988.24 | 30 | CRITICAL | Immediate inspection required
213.753 | crown_settlement_mm | 5989.337 | 25 | CRITICAL | Immediate inspection required
213.753 | lateral_convergence_mm | 5988.24 | 30 | CRITICAL | Immediate inspection required
226.33 | crown_settlement_mm | 5988.843 | 25 | CRITICAL | Immediate inspection required
226.33 | lateral_convergence_mm | 5988.705 | 30 | CRITICAL | Immediate inspection required
238.906 | crown_settlement_mm | 5988.843 | 25 | CRITICAL | Immediate inspection required
238.906 | lateral_convergence_mm | 5988.24 | 30 | CRITICAL | Immediate inspection required
251.483 | crown_settlement_mm | 5988.711 | 25 | CRITICAL | Immediate inspection required
251.483 | lateral_convergence_mm | 5988.705 | 30 | CRITICAL | Immediate inspection required
264.058 | crown_settlement_mm | 5988.711 | 25 | CRITICAL | Immediate inspection required
264.058 | lateral_convergence_mm | 5989.687 | 30 | CRITICAL | Immediate inspection required
276.634 | crown_settlement_mm | 5993.512 | 25 | CRITICAL | Immediate inspection required
276.634 | lateral_convergence_mm | 5990.883 | 30 | CRITICAL | Immediate inspection required
289.209 | crown_settlement_mm | 5993.512 | 25 | CRITICAL | Immediate inspection required
289.209 | lateral_convergence_mm | 5990.883 | 30 | CRITICAL | Immediate inspection required
301.784 | crown_settlement_mm | 5993.512 | 25 | CRITICAL | Immediate inspection required
301.784 | lateral_convergence_mm | 5992.52 | 30 | CRITICAL | Immediate inspection required
314.359 | crown_settlement_mm | 5993.512 | 25 | CRITICAL | Immediate inspection required
314.359 | lateral_convergence_mm | 5992.52 | 30 | CRITICAL | Immediate inspection required
326.933 | crown_settlement_mm | 5993.512 | 25 | CRITICAL | Immediate inspection required
326.933 | lateral_convergence_mm | 5996.37 | 30 | CRITICAL | Immediate inspection required
339.506 | crown_settlement_mm | 5994.124 | 25 | CRITICAL | Immediate inspection required
339.506 | lateral_convergence_mm | 5997.703 | 30 | CRITICAL | Immediate inspection required
352.079 | crown_settlement_mm | 5997.754 | 25 | CRITICAL | Immediate inspection required
352.079 | lateral_convergence_mm | 5997.703 | 30 | CRITICAL | Immediate inspection required
364.651 | crown_settlement_mm | 5997.754 | 25 | CRITICAL | Immediate inspection required
364.651 | lateral_convergence_mm | 5996.37 | 30 | CRITICAL | Immediate inspection required
377.223 | crown_settlement_mm | 5998.65 | 25 | CRITICAL | Immediate inspection required
377.223 | lateral_convergence_mm | 5995.997 | 30 | CRITICAL | Immediate inspection required
389.795 | crown_settlement_mm | 5998.78 | 25 | CRITICAL | Immediate inspection required
389.795 | lateral_convergence_mm | 5991.382 | 30 | CRITICAL | Immediate inspection required
402.366 | crown_settlement_mm | 5998.78 | 25 | CRITICAL | Immediate inspection required
402.366 | lateral_convergence_mm | 5991.382 | 30 | CRITICAL | Immediate inspection required
414.937 | crown_settlement_mm | 5998.78 | 25 | CRITICAL | Immediate inspection required
414.937 | lateral_convergence_mm | 5991.382 | 30 | CRITICAL | Immediate inspection required
427.507 | crown_settlement_mm | 5998.78 | 25 | CRITICAL | Immediate inspection required
427.507 | lateral_convergence_mm | 5991.64 | 30 | CRITICAL | Immediate inspection required
440.077 | crown_settlement_mm | 5998.131 | 25 | CRITICAL | Immediate inspection required
440.077 | lateral_convergence_mm | 5992.02 | 30 | CRITICAL | Immediate inspection required
452.647 | crown_settlement_mm | 5998.131 | 25 | CRITICAL | Immediate inspection required
452.647 | lateral_convergence_mm | 5992.027 | 30 | CRITICAL | Immediate inspection required
465.216 | crown_settlement_mm | 5993.434 | 25 | CRITICAL | Immediate inspection required
465.216 | lateral_convergence_mm | 5992.02 | 30 | CRITICAL | Immediate inspection required
477.785 | crown_settlement_mm | 5995.834 | 25 | CRITICAL | Immediate inspection required
477.785 | lateral_convergence_mm | 5992.02 | 30 | CRITICAL | Immediate inspection required
490.355 | crown_settlement_mm | 5997.524 | 25 | CRITICAL | Immediate inspection required
490.355 | lateral_convergence_mm | 5992.954 | 30 | CRITICAL | Immediate inspection required
502.924 | crown_settlement_mm | 5995.834 | 25 | CRITICAL | Immediate inspection required
502.924 | lateral_convergence_mm | 5982.955 | 30 | CRITICAL | Immediate inspection required
515.493 | crown_settlement_mm | 5991.43 | 25 | CRITICAL | Immediate inspection required
515.493 | lateral_convergence_mm | 5982.565 | 30 | CRITICAL | Immediate inspection required
528.062 | crown_settlement_mm | 5985.895 | 25 | CRITICAL | Immediate inspection required
528.062 | lateral_convergence_mm | 5966.181 | 30 | CRITICAL | Immediate inspection required
540.631 | crown_settlement_mm | 5985.895 | 25 | CRITICAL | Immediate inspection required
540.631 | lateral_convergence_mm | 5966.181 | 30 | CRITICAL | Immediate inspection required
553.201 | crown_settlement_mm | 5985.895 | 25 | CRITICAL | Immediate inspection required
553.201 | lateral_convergence_mm | 5966.181 | 30 | CRITICAL | Immediate inspection required
565.771 | crown_settlement_mm | 5994.992 | 25 | CRITICAL | Immediate inspection required
565.771 | lateral_convergence_mm | 5972.406 | 30 | CRITICAL | Immediate inspection required
578.341 | crown_settlement_mm | 5998.31 | 25 | CRITICAL | Immediate inspection required
578.341 | lateral_convergence_mm | 5989.702 | 30 | CRITICAL | Immediate inspection required
590.912 | crown_settlement_mm | 5998.31 | 25 | CRITICAL | Immediate inspection required
590.912 | lateral_convergence_mm | 5994.729 | 30 | CRITICAL | Immediate inspection required
603.483 | crown_settlement_mm | 5994.992 | 25 | CRITICAL | Immediate inspection required
603.483 | lateral_convergence_mm | 5994.729 | 30 | CRITICAL | Immediate inspection required
616.055 | crown_settlement_mm | 5994.992 | 25 | CRITICAL | Immediate inspection required
616.055 | lateral_convergence_mm | 5994.431 | 30 | CRITICAL | Immediate inspection required
628.627 | crown_settlement_mm | 5996.972 | 25 | CRITICAL | Immediate inspection required
628.627 | lateral_convergence_mm | 5994.431 | 30 | CRITICAL | Immediate inspection required
641.199 | crown_settlement_mm | 5996.308 | 25 | CRITICAL | Immediate inspection required
641.199 | lateral_convergence_mm | 5994.431 | 30 | CRITICAL | Immediate inspection required
653.772 | crown_settlement_mm | 5996.308 | 25 | CRITICAL | Immediate inspection required
653.772 | lateral_convergence_mm | 5992.036 | 30 | CRITICAL | Immediate inspection required
666.345 | crown_settlement_mm | 5996.308 | 25 | CRITICAL | Immediate inspection required
666.345 | lateral_convergence_mm | 5992.036 | 30 | CRITICAL | Immediate inspection required
678.919 | crown_settlement_mm | 5996.171 | 25 | CRITICAL | Immediate inspection required
678.919 | lateral_convergence_mm | 5992.036 | 30 | CRITICAL | Immediate inspection required
691.494 | crown_settlement_mm | 5996.171 | 25 | CRITICAL | Immediate inspection required
691.494 | lateral_convergence_mm | 5993.648 | 30 | CRITICAL | Immediate inspection required
704.069 | crown_settlement_mm | 5996.171 | 25 | CRITICAL | Immediate inspection required
704.069 | lateral_convergence_mm | 5993.648 | 30 | CRITICAL | Immediate inspection required
716.644 | crown_settlement_mm | 5996.171 | 25 | CRITICAL | Immediate inspection required
716.644 | lateral_convergence_mm | 5993.648 | 30 | CRITICAL | Immediate inspection required
729.22 | crown_settlement_mm | 5996.171 | 25 | CRITICAL | Immediate inspection required
729.22 | lateral_convergence_mm | 5993.648 | 30 | CRITICAL | Immediate inspection required
741.796 | crown_settlement_mm | 5994.23 | 25 | CRITICAL | Immediate inspection required
741.796 | lateral_convergence_mm | 5993.648 | 30 | CRITICAL | Immediate inspection required
754.372 | crown_settlement_mm | 5992.083 | 25 | CRITICAL | Immediate inspection required
754.372 | lateral_convergence_mm | 5987.395 | 30 | CRITICAL | Immediate inspection required
766.949 | crown_settlement_mm | 5980.179 | 25 | CRITICAL | Immediate inspection required
766.949 | lateral_convergence_mm | 5985.56 | 30 | CRITICAL | Immediate inspection required
779.525 | crown_settlement_mm | 5980.179 | 25 | CRITICAL | Immediate inspection required
779.525 | lateral_convergence_mm | 5985.56 | 30 | CRITICAL | Immediate inspection required
792.102 | crown_settlement_mm | 5980.179 | 25 | CRITICAL | Immediate inspection required
792.102 | lateral_convergence_mm | 5984.544 | 30 | CRITICAL | Immediate inspection required
804.679 | crown_settlement_mm | 5980.179 | 25 | CRITICAL | Immediate inspection required
804.679 | lateral_convergence_mm | 5984.544 | 30 | CRITICAL | Immediate inspection required
817.256 | crown_settlement_mm | 5984.24 | 25 | CRITICAL | Immediate inspection required
817.256 | lateral_convergence_mm | 5984.544 | 30 | CRITICAL | Immediate inspection required
829.833 | crown_settlement_mm | 5990.65 | 25 | CRITICAL | Immediate inspection required
829.833 | lateral_convergence_mm | 5990.12 | 30 | CRITICAL | Immediate inspection required
842.41 | crown_settlement_mm | 5992.357 | 25 | CRITICAL | Immediate inspection required
842.41 | lateral_convergence_mm | 5991.641 | 30 | CRITICAL | Immediate inspection required
854.986 | crown_settlement_mm | 5991.699 | 25 | CRITICAL | Immediate inspection required
854.986 | lateral_convergence_mm | 5991.641 | 30 | CRITICAL | Immediate inspection required
867.562 | crown_settlement_mm | 5992.357 | 25 | CRITICAL | Immediate inspection required
867.562 | lateral_convergence_mm | 5993.039 | 30 | CRITICAL | Immediate inspection required
880.138 | crown_settlement_mm | 5993.175 | 25 | CRITICAL | Immediate inspection required
880.138 | lateral_convergence_mm | 5993.039 | 30 | CRITICAL | Immediate inspection required
892.713 | crown_settlement_mm | 5993.175 | 25 | CRITICAL | Immediate inspection required
892.713 | lateral_convergence_mm | 5993.786 | 30 | CRITICAL | Immediate inspection required
905.287 | crown_settlement_mm | 5993.862 | 25 | CRITICAL | Immediate inspection required
905.287 | lateral_convergence_mm | 5993.786 | 30 | CRITICAL | Immediate inspection required
917.861 | crown_settlement_mm | 5993.862 | 25 | CRITICAL | Immediate inspection required
917.861 | lateral_convergence_mm | 5993.786 | 30 | CRITICAL | Immediate inspection required
930.433 | crown_settlement_mm | 5993.73 | 25 | CRITICAL | Immediate inspection required
930.433 | lateral_convergence_mm | 5993.786 | 30 | CRITICAL | Immediate inspection required
943.005 | crown_settlement_mm | 5992.541 | 25 | CRITICAL | Immediate inspection required
943.005 | lateral_convergence_mm | 5993.167 | 30 | CRITICAL | Immediate inspection required
955.575 | crown_settlement_mm | 5993.398 | 25 | CRITICAL | Immediate inspection required
955.575 | lateral_convergence_mm | 5993.167 | 30 | CRITICAL | Immediate inspection required
968.144 | crown_settlement_mm | 5993.398 | 25 | CRITICAL | Immediate inspection required
968.144 | lateral_convergence_mm | 5993.167 | 30 | CRITICAL | Immediate inspection required
980.711 | crown_settlement_mm | 5991.408 | 25 | CRITICAL | Immediate inspection required
980.711 | lateral_convergence_mm | 5993.698 | 30 | CRITICAL | Immediate inspection required
993.277 | crown_settlement_mm | 5993.398 | 25 | CRITICAL | Immediate inspection required
993.277 | lateral_convergence_mm | 5995.959 | 30 | CRITICAL | Immediate inspection required